## D_pole_class
Input warehouse size (options)_Version 2.0 | [8 empty] | concrete pad or footing for posts or poles (diameter 12", Thickness 6") | [6 empty] | Angle of repose | [8 empty] | Cost modifier |  | wide | 40 |  | floor | 2400 | S.F. | Story Height multiplier |  | Wall (height) | 18
Width (') | Length (') | Height (eave) | Siding (yes=1, No=0) | Post(pole) spacing (') | Concrete floor (yes=1, No=0) | current index (2009=100) | Class | Cost multiflier | Story multiflier | C.F.(cubic foot) |  | C.Y. | Post No. |  | back | 18.45 |  | 4 in 12 slope | [6 empty] | source: RSMeans |  | length | 60 |  |  |  |  | source: Michigan
40 | 60 | 18 | 1 | 8 | 1 | 100 | Dpole | 1.1 | 1.08 | 28.2743 |  | 1.0472 | 18 |  | front | 18.45 |  | 4 in 12 slope
|  |  |  | Post No. | [5 empty] | 1200 |  | 44.4444
Output warehouse Cost |  |  |  | 18 | [21 empty] | total
| Footing & floor | wall | Roof | Total cost | Adj. Total cost |  | S.F. cost | Adj. S.F. cost | [17 empty] | floor+surface+cone | 2400
Bare costs | 10653.8889 | 11762.24 | 7335.4256 | 29751.5545 | 35344.8468 |  | 12.3965 | 14.727
Total INCL O&P | 14278.4444 | 15924.6 | 10027.3749 | 40230.4193 | 47793.7381 |  | 16.7627 | 19.9141
[26 empty] | garage | typical |  | 9300
part |  |  | unit | Specific title | Description | part number | level 5 | Material | Labor | Equipment | total ($) | Total incl O&P | required | reference | unit required | Total (O&P) | Bare cost | 2006 page |  | 17 | 0.0575 | 1.461 | 2.346 | 11.453
Footing | Post footing | Excav., backfill, Forms, concrete | Ea | 12" diameter | post footiing, incl excav, backfill, tube form 4 ' deep, 12" diameter | 061110281550 | 1550 | 21.5 | 115 |  | 136.5 | 213 | 1/post(pole) |  | 18 | 3834 | 2457 | [9 empty] | Size factor |  | 0.26 | [5 empty] | Average Wall(eave) |  | 18
| concrete for floor | Concrete in Place | C.Y | Slab on grade 4'' thick | Structural concrete, in place, slab on grade, 4" thick, includes forms(4 uses) and reinforcing steel | 033053404650 | 4650 | 127 | 57 | 0.43 | 184.43 | 235 | Area |  | 44.4444 | 10444.4444 | 8196.8889 | [9 empty] | Cost multiplier |  | 1.1 | [5 empty] | S.F. multiplier |  | 1.08
Wall | frame (side post) | Post (pole) | L.F. | 6" X 6" Framing , colums for wood post | Posts and Columns 6"X6" | 061110140250 | 250 | 4.87 | 2.97 |  | 7.84 | 10.25 | Post No. based on post spacing O.C. |  | 18 | 4059 | 3104.64
| siding Panel | wall girts | L.F. | 2" X 4", 2' O.C. | framing walls, plates, untreated 2"X4", pneumatic nailed | 061110405027 | 5027 | 0.29 | 0.67 |  | 0.96 | 1.42 | wall area and siding |  | 1440 | 2044.8 | 1382.4 | [8 empty] | Extend | [7 empty] | Extend
|  | skirt board | L.F. | 2" X 6" | framing walls, plates, untreated 2"X6", pneumatic nailed | 061110405041 | 5041 | 0.52 | 0.85 |  | 1.37 | 1.98 | preimeter |  | 160 | 316.8 | 219.2 | [11 empty] | size factor | cost multiplier | [6 empty] | Average Wall(eave) | S.F. multiplier
|  | siding | S.F. | Corrugated. 0.019" thick painted, steel | aluminum sideing panels, corrugated, on steel frame, 0.19 thick, natural finish | 074213200012 | 12 | 1.35 | 1.63 |  | 2.98 | 4.12 | siding area (three siding) except front siding |  | 2880 | 11865.6 | 8582.4 |  | #REF! | [9 empty] | 0.5 | 1.1 | 1 | 1.1 |  |  |  |  | 8 | 0.88
|  | On wood framing | S.F. | For siding on wood frame, deduct from above siding cost | for sideing on wood frame, deduct from above | 074213203300 | 3300 | 0.08 | 0.45 |  | 0.53 | 0.82 | deduct on wood frame |  | 2880 | 2361.6 | 1526.4 | [11 empty] | 0.55 | 1.0967 | 2 | 1.0967 |  |  |  |  | 9 | 0.9
Roof | frame | roof beam | L.F. | 2 X 8 single wood | Beam and girder framing, single, 2X8 pneumatic nailed | 061110101025 | 1025 | 0.71 | 0.85 |  | 1.56 | 2.18 | height/12 |  | 120 | 261.6 | 187.2 | [11 empty] | 0.6 | 1.0934 | 3 | 1.0934 |  |  |  |  | 10 | 0.92
|  | rafters right | L.F. | 2 X 6 wood | Framing, roofs, rafters, to 4 in 12 pitch, 2"X6" | 061110305000 | 5000 | 0.52 | 0.64 |  | 1.16 | 1.63 | depend on repose |  | 21.0837 | 309.2978 | 220.1138 | [11 empty] | 0.65 | 1.0901 | 4 | 1.0901 |  |  |  |  | 11 | 0.94
|  | rafters left | L.F. | 2 X 6 wood | Framing, roofs, rafters, to 4 in 12 pitch, 2"X6" | 061110305000 | 5000 | 0.52 | 0.64 |  | 1.16 | 1.63 | depend on repose |  | 21.0837 | 309.2978 | 220.1138 | [11 empty] | 0.7 | 1.0868 | 5 | 1.0868 |  |  |  |  | 12 | 0.96
|  | Collar Beam Tie | L.F. | 2" X 4", 2' O.C. | framing walls, plates, untreated 2"X4", pneumatic nailed | 061110405027 | 5027 | 0.29 | 0.67 |  | 0.96 | 1.42 | half of truss span |  | 140 | 198.8 | 134.4 | [11 empty] | 0.75 | 1.0835 | 6 | 1.0835 |  |  |  |  | 13 | 0.98
|  | Ceiling joists (cross) | L.F. | 4 X 6 wood joist | joist framing, joist, 4"X6" | 061110182502 | 2502 | 2.34 | 0.8 |  | 3.14 | 3.89 | wide level |  | 360 | 1400.4 | 1130.4 | [11 empty] | 0.8 | 1.0802 | 7 | 1.0802 |  |  |  | Base | 14 | 1
|  | ridge board | L.F. | 2 X 6 wood | roof framing, ridge board, #2 or better, 2"X6" | 061110305860 | 5860 | 0.52 | 1.28 |  | 1.8 | 2.68 | 1/warehouse's length |  | 60 | 160.8 | 108 | [11 empty] | 0.85 | 1.0769 | 8 | 1.0769 |  |  |  |  | 15 | 1.02
|  | purins | L.F. | 2" X 4", 2' O.C. | framing walls, plates, untreated 2"X4", pneumatic nailed | 061110405027 | 5027 | 0.29 | 0.67 |  | 0.96 | 1.42 | rafter length & length |  | 1265.0219 | 1796.3311 | 1214.421 | [11 empty] | 1.1 | 1.0736 | 13 | 1.0736 |  |  |  |  | 16 | 1.04
|  | end studs | L.F. | 2 X 6 stud 16" O.C. # wood | ceiling framing, suspended,2"X6" | 061110126100 | 6500 | 0.52 | 0.8 |  | 1.32 | 1.89 | 1/16" | fron & back | 46.7075 | 176.5545 | 123.3079 | [11 empty] | 1.15 | 1.0703 | 14 | 1.0703 |  |  |  |  | 17 | 1.06
| roofing panel | steel | S.F. | Corrugated. 0.0155" thick, steel | aluminum of panels, corrugated, on steel frame, 0.0155. thick, natural finish | 074113100020 | 20 | 0.87 | 1.05 |  | 1.92 | 2.66 | roof area |  | 2530.0438 | 6729.9164 | 4857.684 | [11 empty] | 1.2 | 1 | 15 | 1 |  |  |  |  | 18 | 1.08
|  | On wood framing | S.F. | For roof on wood frame, deduct from above roof siding cost | for roofing on wood frame, deduct from above | 074113102200 | 2200 | 0.07 | 0.27 |  | 0.34 | 0.52 | roof area |  | 2530.0438 | 1315.6228 | 860.2149 | [11 empty] | 1.25 | 0.9985 | 16 | 0.9985 |  |  |  |  | 19 | 1.105
[29 empty] | 1.3 | 0.997 | 17 | 0.997 |  |  |  |  | 20 | 1.13
| end stud | [27 empty] | 1.35 | 0.9955 | 18 | 0.9955 |  |  |  |  | 21 | 1.155
| stud (back) | [11 empty] | end stud | [15 empty] | 1.4 | 0.994 | 19 | 0.994 |  |  |  |  | 22 | 1.18
| 6.2277 | [11 empty] | stud (front) | [15 empty] | 1.45 | 0.9925 | 20 | 0.9925 |  |  |  |  | 23 | 1.205
| 5.7828 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*1/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*1/12))),0) | [10 empty] | 6.2277 | =IF((TAN(O3*PI()/180)*(wide/2-(16*1/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*1/12))),0) | [14 empty] | 1.5 | 0.991 | 21 | 0.991 |  |  |  |  | 24 | 1.23
| 5.338 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*2/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*2/12))),0) | [10 empty] | 5.7828 | =IF((TAN(O3*PI()/180)*(wide/2-(16*2/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*2/12))),0) | [14 empty] | 1.55 | 0.9895 | 22 | 0.9895 |  |  |  |  | 25 | 1.255
| 4.8932 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*3/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*3/12))),0) | [10 empty] | 5.338 | =IF((TAN(O3*PI()/180)*(wide/2-(16*3/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*3/12))),0) | [14 empty] | 1.6 | 0.988 | 23 | 0.988 |  |  |  |  | 26 | 1.28
| 4.4483 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*4/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*4/12))),0) | [10 empty] | 4.8932 | =IF((TAN(O3*PI()/180)*(wide/2-(16*4/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*4/12))),0) | [14 empty] | 1.65 | 0.9865 | 24 | 0.9865 |  |  |  |  | 27 | 1.305
| 4.0035 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*5/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*5/12))),0) | [10 empty] | 4.4483 | =IF((TAN(O3*PI()/180)*(wide/2-(16*5/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*5/12))),0) | [14 empty] | 1.7 | 0.9814 | 25 | 0.9814 |  |  |  |  | 28 | 1.33
| 3.5587 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*6/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*6/12))),0) | [10 empty] | 4.0035 | =IF((TAN(O3*PI()/180)*(wide/2-(16*6/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*6/12))),0) | [14 empty] | 1.75 | 0.9763 | 26 | 0.9763 |  |  |  |  | 29 | 1.355
| 3.1138 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*7/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*7/12))),0) | [10 empty] | 3.5587 | =IF((TAN(O3*PI()/180)*(wide/2-(16*7/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*7/12))),0) | [14 empty] | 1.8 | 0.9712 | 27 | 0.9712 |  |  |  |  | 30 | 1.38
| 2.669 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*8/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*8/12))),0) | [10 empty] | 3.1138 | =IF((TAN(O3*PI()/180)*(wide/2-(16*8/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*8/12))),0) | [14 empty] | 1.85 | 0.9661 | 28 | 0.9661 |  |  |  |  | 31 | 1.406
| 2.2242 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*9/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*9/12))),0) | [10 empty] | 2.669 | =IF((TAN(O3*PI()/180)*(wide/2-(16*9/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*9/12))),0) | [14 empty] | 1.9 | 0.961 | 29 | 0.961 |  |  |  |  | 32 | 1.432
| 1.7793 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*10/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*10/12))),0) | [10 empty] | 2.2242 | =IF((TAN(O3*PI()/180)*(wide/2-(16*10/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*10/12))),0) | [14 empty] | 1.95 | 0.9559 | 30 | 0.9559 |  |  |  |  | 33 | 1.458
| 1.3345 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*11/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*11/12))),0) | [10 empty] | 1.7793 | =IF((TAN(O3*PI()/180)*(wide/2-(16*11/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*11/12))),0) | [14 empty] | 2 | 0.94 | 31 | 0.94 |  |  |  |  | 34 | 1.484
| 0.88967 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*12/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*12/12))),0) | [10 empty] | 1.3345 | =IF((TAN(O3*PI()/180)*(wide/2-(16*12/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*12/12))),0) | [14 empty] | 2.05 | 0.9385 | 32 | 0.9385 |  |  |  |  | 35 | 1.51
| 0.44483 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*13/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*13/12))),0) | [10 empty] | 0.88967 | =IF((TAN(O3*PI()/180)*(wide/2-(16*13/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*13/12))),0) | [14 empty] | 2.1 | 0.937 | 33 | 0.937 |  |  |  |  | 36 | 1.538
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*14/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*14/12))),0) | [10 empty] | 0.44483 | =IF((TAN(O3*PI()/180)*(wide/2-(16*14/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*14/12))),0) | [14 empty] | 2.15 | 0.9355 | 34 | 0.9355 |  |  |  |  | 37 | 1.566
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*15/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*15/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*15/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*15/12))),0) | [14 empty] | 2.2 | 0.934 | 35 | 0.934 |  |  |  |  | 38 | 1.594
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*16/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*16/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*16/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*16/12))),0) | [14 empty] | 2.25 | 0.9325 | 36 | 0.9325 |  |  |  |  | 39 | 1.622
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*17/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*17/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*17/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*17/12))),0) | [14 empty] | 2.3 | 0.931 | 37 | 0.931 |  |  |  |  | 40 | 1.65
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*18/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*18/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*18/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*18/12))),0) | [14 empty] | 2.35 | 0.9295 | 38 | 0.9295 |  |  |  |  | 41 | 1.676
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*19/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*19/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*19/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*19/12))),0) | [14 empty] | 2.4 | 0.928 | 39 | 0.928 |  |  |  |  | 42 | 1.702
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*20/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*20/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*20/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*20/12))),0) | [14 empty] | 2.45 | 0.9265 | 40 | 0.9265 |  |  |  |  | 43 | 1.728
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*21/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*21/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*21/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*21/12))),0) | [14 empty] | 2.5 | 0.925 | 41 | 0.925 |  |  |  |  | 44 | 1.754
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*22/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*22/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*22/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*22/12))),0) | [14 empty] | 2.55 | 0.9235 | 42 | 0.9235 |  |  |  |  | 45 | 1.78
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*23/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*23/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*23/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*23/12))),0) | [14 empty] | 2.6 | 0.922 | 43 | 0.922 |  |  |  |  | 46 | 1.81
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*24/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*24/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*24/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*24/12))),0) | [14 empty] | 2.65 | 0.9205 | 44 | 0.9205 |  |  |  |  | 47 | 1.84
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*25/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*25/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*25/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*25/12))),0) | [14 empty] | 2.7 | 0.919 | 45 | 0.919 |  |  |  |  | 48 | 1.87
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*26/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*26/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*26/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*26/12))),0) | [14 empty] | 2.75 | 0.9175 | 46 | 0.9175 |  |  |  |  | 49 | 1.9
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*27/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*27/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*27/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*27/12))),0) | [14 empty] | 2.8 | 0.916 | 47 | 0.916 |  |  |  |  | 50 | 1.93
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*28/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*28/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*28/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*28/12))),0) | [14 empty] | 2.85 | 0.9145 | 48 | 0.9145 |  |  |  |  | 51 | 1.958
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*29/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*29/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*29/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*29/12))),0) | [14 empty] | 2.9 | 0.913 | 49 | 0.913 |  |  |  |  | 52 | 1.986
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*30/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*30/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*30/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*30/12))),0) | [14 empty] | 2.95 | 0.9115 | 50 | 0.9115 |  |  |  |  | 53 | 2.014
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*31/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*31/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*31/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*31/12))),0) | [14 empty] | 3 | 0.91 | 51 | 0.91 |  |  |  |  | 54 | 2.042
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*32/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*32/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*32/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*32/12))),0) | [14 empty] | 3.05 | 0.909 | 52 | 0.909 |  |  |  |  | 55 | 2.07
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*33/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*33/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*33/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*33/12))),0) | [14 empty] | 3.1 | 0.908 | 53 | 0.908 |  |  |  |  | 56 | 2.1
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*34/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*34/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*34/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*34/12))),0) | [14 empty] | 3.15 | 0.907 | 54 | 0.907 |  |  |  |  | 57 | 2.13
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*35/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*35/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*35/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*35/12))),0) | [14 empty] | 3.2 | 0.906 | 55 | 0.906 |  |  |  |  | 58 | 2.16
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*36/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*36/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*36/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*36/12))),0) | [14 empty] | 3.25 | 0.905 | 56 | 0.905 |  |  |  |  | 59 | 2.19
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*37/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*37/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*37/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*37/12))),0) | [14 empty] | 3.3 | 0.904 | 57 | 0.904 |  |  |  |  | 60 | 2.22
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*38/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*38/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*38/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*38/12))),0) | [14 empty] | 3.35 | 0.903 | 58 | 0.903 |  |  |  |  | 61 | 2.251
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*39/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*39/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*39/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*39/12))),0) | [14 empty] | 3.4 | 0.902 | 59 | 0.902 |  |  |  |  | 62 | 2.282
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*40/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*40/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*40/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*40/12))),0) | [14 empty] | 3.45 | 0.901 | 60 | 0.901 |  |  |  |  | 63 | 2.313
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*41/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*41/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*41/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*41/12))),0) | [14 empty] | 3.5 | 0.9 | 61 | 0.9 |  |  |  |  | 64 | 2.344
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*42/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*42/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*42/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*42/12))),0) | [22 empty] | 65 | 2.375
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*43/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*43/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*43/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*43/12))),0) | [22 empty] | 66 | 2.406
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*44/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*44/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*44/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*44/12))),0) | [22 empty] | 67 | 2.437
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*45/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*45/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*45/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*45/12))),0) | [22 empty] | 68 | 2.468
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*46/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*46/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*46/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*46/12))),0) | [22 empty] | 69 | 2.499
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*47/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*47/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*47/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*47/12))),0) | [22 empty] | 70 | 2.53
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*48/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*48/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*48/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*48/12))),0) | [22 empty] | 71 | 2.5613
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*49/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*49/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*49/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*49/12))),0) | [22 empty] | 72 | 2.5926
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*50/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*50/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*50/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*50/12))),0) | [22 empty] | 73 | 2.6239
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*51/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*51/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*51/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*51/12))),0) | [22 empty] | 74 | 2.6552
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*52/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*52/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*52/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*52/12))),0) | [22 empty] | 75 | 2.6865
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*53/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*53/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*53/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*53/12))),0) | [22 empty] | 76 | 2.7178
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*54/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*54/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*54/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*54/12))),0) | [22 empty] | 77 | 2.7491
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*55/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*55/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*55/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*55/12))),0) | [22 empty] | 78 | 2.7804
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*56/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*56/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*56/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*56/12))),0) | [22 empty] | 79 | 2.8117
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*57/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*57/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*57/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*57/12))),0) | [22 empty] | 80 | 2.843
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*58/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*58/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*58/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*58/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*59/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*59/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*59/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*59/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*60/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*60/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*60/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*60/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*61/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*61/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*61/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*61/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*62/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*62/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*62/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*62/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*63/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*63/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*63/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*63/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*64/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*64/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*64/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*64/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*65/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*65/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*65/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*65/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*66/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*66/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*66/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*66/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*67/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*67/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*67/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*67/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*68/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*68/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*68/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*68/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*69/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*69/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*69/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*69/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*70/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*70/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*70/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*70/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*71/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*71/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*71/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*71/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*72/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*72/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*72/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*72/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*73/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*73/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*73/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*73/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*74/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*74/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*74/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*74/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*75/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*75/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*75/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*75/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*76/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*76/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*76/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*76/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*77/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*77/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*77/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*77/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*78/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*78/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*78/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*78/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*79/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*79/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*79/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*79/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*80/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*80/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*80/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*80/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*81/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*81/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*81/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*81/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*82/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*82/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*82/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*82/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*83/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*83/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*83/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*83/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*84/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*84/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*84/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*84/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*85/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*85/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*85/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*85/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*86/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*86/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*86/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*86/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*87/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*87/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*87/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*87/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*88/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*88/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*88/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*88/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*89/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*89/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*89/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*89/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*90/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*90/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*90/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*90/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*91/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*91/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*91/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*91/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*92/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*92/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*92/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*92/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*93/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*93/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*93/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*93/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*94/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*94/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*94/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*94/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*95/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*95/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*95/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*95/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*96/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*96/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*96/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*96/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*97/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*97/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*97/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*97/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*98/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*98/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*98/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*98/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*99/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*99/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*99/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*99/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*100/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*100/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*100/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*100/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*101/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*101/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*101/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*101/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*102/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*102/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*102/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*102/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*103/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*103/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*103/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*103/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*104/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*104/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*104/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*104/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*105/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*105/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*105/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*105/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*106/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*106/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*106/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*106/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*107/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*107/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*107/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*107/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*108/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*108/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*108/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*108/12))),0)
| 0 | =IF((TAN(O2*PI()/180)*((wide/2)-(16*109/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*109/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*109/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*109/12))),0)
|  | =IF((TAN(O2*PI()/180)*((wide/2)-(16*110/12)))>0,(TAN(O2*PI()/180)*((wide/2)-(16*110/12))),0) | [10 empty] | 0 | =IF((TAN(O3*PI()/180)*(wide/2-(16*110/12)))>0,(TAN(O3*PI()/180)*(wide/2-(16*110/12))),0)
Note on I2: byounl: RS means
Note on J2: byounl: Michigan manual http://www.michigan.gov/documents/Vol2-19Cal232-243Warehouses_121057_7.pdf.
Note on M2: byounl: 1 cubic foot= 0.037037037 cubic yard
Note on K4: byounl: concrete floor
Note on M5: byounl: 1 cubic foot= 0.037037037 cubic yard
Note on F10: byounl: RSMeans 2009 'facilities Construction cost data' ,part Number
Note on G10: byounl: RSMeans 2009 'facilities Construction cost data' ,part Number
Note on H10: byounl: RSMeans 2006 'Building Construction cost data' , part No.5
Note on P13: byounl: Post No
Note on Q13: byounl: eave height +4 ; 4' is footing deep
Note on R13: byounl: eave height +4 ; 4' is footing deep
Note on P14: byounl: 1 is for back siding 2 is for siding
Note on P15: byounl: 1 is for back siding 2 is for siding
Note on P16: byounl: 1 is for back siding 2 is for siding
Note on P17: byounl: 1 is for back siding 2 is for siding